iCerMax™          1”   Water indicator and particle filter

iCerMax™ 1” Diesel filter                                                  iCerMax™ 1” Strainer

-Multi pleated particle filter -   30 micron

-Water indicator and removes water (Suspended and free water) - flow rate dependant

Applications:

-Mobile Trailers

-Famers Gravity tanks

-Filling Gensec tanks on receiving

-inline Strainers

-Small kerbside pumps

Use as inline Strainer to protect pumps, especially at tank cleaning:

-1” flow, no internal reduction on flow, no cavitation on pump, especially fitted on suction side,

other products reduce to 14 mm inside, cause cavitation on pump

- Clear bowl visible

- Red ball water indicator

- Metal strainer reusable - 150 micron